## petals
number | nav_order | title | tagline | icon_shortcode | colour | text_colour
1 | 3 | Energy Efficiency Improvements | Reduce Energy Demand and address heat loss | energyefficiency | 069543 | FFFFFF
2 | 4 | Clean Energy | Move away from oil/gas heating (decarbonise) and shift to verified renewable energy tariff | cleanenergy | FEEB15 | 222222
3 | 5 | Thriving Biodiversity | A place of refuge for nature to thrive | thrivingbiodiversity | 194A22 | FFFFFF
4 | 6 | Active Travel | Reduce work-related travel by clergy and church staff in fossil-fuelled transport | activetravel | E52420 | FFFFFF
5 | 7 | Zero Waste | Reject, Reduce, Reuse, Recycle, Restore | zerowaste | 4670B6 | FFFFFF
6 | 8 | Shared Governance | Creating the enabling conditions that allow our Net Zero 2030 Action Plan to flourish | sharedgoverance | BFBEBE | FFFFFF
7 | 9 | Training & Education | Create a competence of climate literacy across our organisation | training | C0910A | FFFFFF
8 | 10 | Rooted Worship | Embed the fifth mark of mission more fully in liturgy, rituals, and all forms of worship | Rootedworship | 991915 | FFFFFF
9 | 11 | Positive Finances | Supporting you with access to the financial resources needed to transition to net zero | postivefinance | 8D7CB8 | FFFFFF
10 | 12 | Build A Movement | Joining hands with others - contributing to an ecosystem of change makers across Scotland | buildamovement | 729BD2 | FFFFFF

## steps
number | nav_order | title | part_of_petal_with_title | tagline | icon_shortcode | icon_alt_text
1 | 1 | Basic Actions | Energy Efficiency Improvements | Actions that are so fundamental every congregation should try to do them. These make it easier to get the rest right. | step1 | Step 1
2 | 2 | Reduce Energy Demand | Energy Efficiency Improvements | Actions that will stop energy wastes now without waiting to make big changes to your building. | step2 | Step 2
3 | 3 | Address Heat Loss | Energy Efficiency Improvements | Actions that will stop heat being lost from your building. You need to take these if you're trying to heat the air but they're much less important if you're only heating the people. | step3 | Step 3
4 | 4 | Decarbonise | Clean Energy | Actions to replace heating systems that use fossil fuels with ones that can use renewable energy sources. | step4 | Step 4
5 | 5 | Generate Energy | Clean Energy | Actions to produce energy right on your premises, to take a load off the grid. | step5 | Step 5

## tasks
number | nav_order | title | description | part_of_petal_with_title | part_of_step_with_title
T1.01 | 1 | Maintain the building | Ensure practical, routine maintenance and upkeep of your building fabric, especially roofs and gutters. Review your latest quinquennial buildings report and prioritise work accordingly, and make it easy for people to point out issues. | Energy Efficiency Improvements | Basic Actions
T1.02 | 2 | Get your plan right | Is your building used as much as it should be and are you heating it the best way for how you use it? If it is in low use or difficult to change, think about switching to alternatives to space heating for making people comfortable, at least in some spaces or in part. | Energy Efficiency Improvements | Basic Actions
T1.03 | 3 | Take expert advice | Take the advice of experts, including getting a smart meter so they have the data they need. | Energy Efficiency Improvements | Basic Actions
T1.04 | 4 | Heat at the right times | Make sure your heating and hot water are on at the right times and at the right temperatures. | Energy Efficiency Improvements | Reduce Energy Demand
T1.05 | 5 | Manage who can change the heating | Get your current heating under control by disabling the heating in the summer and making sure users can’t make changes that won’t help them. | Energy Efficiency Improvements | Reduce Energy Demand
T1.06 | 6 | Make your heating more efficient | Make your heating system more efficient through DIY maintenance, using the control settings, or by installing new energy efficient controls. | Energy Efficiency Improvements | Reduce Energy Demand
T1.07 | 7 | Heat less space | Heat less space by moving people around, zoning your heating – possibly using new smart thermostatic radiator valves to make that easier – or with false ceilings, partitions, and other architectural changes. | Energy Efficiency Improvements | Reduce Energy Demand
T1.08 | 8 | Waste less electricity | Stop common electricity wastes like having inefficient lighting or leaving lights or heating on. | Energy Efficiency Improvements | Reduce Energy Demand
T1.09 | 9 | Only heat the water you need | Replace any very inefficient hot water arrangements. | Energy Efficiency Improvements | Reduce Energy Demand
T1.10 | 10 | Keep warm air in | Help keep the warm air in the building with the help of a number of different techniques. | Energy Efficiency Improvements | Address Heat Loss
T1.11 | 11 | Insulate what you can | Insulate what you can, whether that be windows, walls or roofs. Review the measures that make sense for your buildings. | Energy Efficiency Improvements | Address Heat Loss
T1.12 | 12 | Improve your glazing | Improve the glazing on your windows, whether that be with temporary solutions or those for the longer term. | Energy Efficiency Improvements | Address Heat Loss
T2.01 | 20 | Decarbonise your heating | Move to a new heating technology – if you intend to heat the air, try district heating or a heat pump and if you intend to just make the people warm, try radiant heating or heated seating. | Clean Energy | Decarbonise
T2.02 | 21 | Buy green electricity | Switch to a verified green energy electricity tariff. You can review criteria we intend to use from the Church Energy Advisory Network. | Clean Energy | Decarbonise
T2.03 | 22 | Install solar panels | Install Solar panels on your roof or in your grounds to generate on-site electricity | Clean Energy | Generate Energy
T3.01 | 30 | Partner with local initiatives | See if there are local environmental initiatives promoting biodiversity that you can link with, particularly if you are a charge without grounds of your own. Perhaps you or a group could manage an area of the local council's grounds or create a litter picking group? | Thriving Biodiversity
T3.02 | 31 | Make use of Scottish Wildlife Trust resources | Scottish Wildlife Trust have projects in almost every area of Scotland - how could you as individuals or as a charge engage with these? | Thriving Biodiversity
T3.03 | 32 | Plant flower tubs | For smaller areas, plant flower tubs - especially insect friendly ones - along the frontage of the church or car park. | Thriving Biodiversity
T3.04 | 33 | Erect bird and bat boxes | Consider erecting bird/swift/house martin/bat boxes on or around churches, halls, and rectories. Engage with your local beekeeping groups. | Thriving Biodiversity
T3.05 | 34 | Encourage biodiversity | Use your grounds to encourage biodiversity, such as planting native flowers, shrubs and trees, creating a wildlife hotel and leaving some areas of long grass. | Thriving Biodiversity
T3.06 | 35 | Engage with Incredible Edible | Engage with Incredible Edible - this group enables communities to connect small scale fruit and veg plots that can be used by the whole community. | Thriving Biodiversity
T4.01 | 40 | Review the Active Travel Framework | Support clergy in working out how the ‘active travel’ framework affects their particular circumstances. Review options for the purchase of a second-hand electric vehicle. | Active Travel
T4.02 | 41 | Congregational engagement | Encourage your congregation and community in walking, wheeling and cycling, use of public transport and car sharing (where appropriate). | Active Travel
T4.03 | 42 | Provide bike racks | Provide bicycle racks and shelters to support increased active travel. | Active Travel
T4.04 | 43 | Install EV charging points | Where appropriate, consider installing charging points for electric cars. Guidance forthcoming from PEG in 2024. | Active Travel
T4.05 | 44 | Use electronic communications, where appropriate | Where appropriate, normalise meetings online, recognizing the need to balance this with in-person meetings to ensure flourishing of people and communities. Online platforms are no panacea, and tools such as Zoom/Microsoft Teams increase carbon footprint, especially with video enabled. | Active Travel
T5.01 | 50 | Reduce waste | Consider what and why you buy to reduce waste and eliminate single use plastic, e.g. refillable cleaning products, buy in bulk where possible, use recycled and recyclable office materials. Fair trade, local suppliers, etc. | Zero Waste
T5.02 | 51 | Reject single use items | Reject items that are unsustainable, such as single use plastics and carrier bags. Reduce your paper use and use sustainably sourced, eco- friendly paper and office products. | Zero Waste
T5.03 | 52 | Reuse and repurpose | Reuse or repurpose surplus items and repair broken items. Consider hosting a repair café. Share larger items or skills with other groups or churches. | Zero Waste
T5.04 | 53 | Make recycling easy | Make recycling easy by making it easily accessible and well signposted with clear instructions. | Zero Waste
T5.05 | 54 | Save water | Consider how you can save water. Treating and heating water is an intensive process. | Zero Waste
T6.01 | 60 | Calculate your carbon footprint | Calculate the main elements of your carbon footprint by using the new Energy Footprint Tool. Complete your annual return (2023 deadline outlined by Net Zero Delivery Director has not yet been announced). | Shared Governance
T6.02 | 61 | Publish your emission in church | Publish annual carbon emissions inside church and on your website. | Shared Governance
T6.03 | 62 | Vestry and congregational engagement | Ensure that actions supporting the journey towards Net Zero are standard items on the Vestry Agenda, and are reported at Annual Congregational meetings, so that there is shared understanding. | Shared Governance
T6.04 | 63 | Connect with your local Diocesan Environmental Group | Connect with your local Diocesan Net Zero group, their work and local network. Take advantage of support available and ensure that you help with enabling the appropriate reporting of emissions to be completed. | Shared Governance
T7.01 | 70 | Get Climate Literacy training | Participate in Climate Literacy training through Keep Scotland Beautiful - get your vestry trained up! | Training & Education
T7.02 | 71 | Start an eco-book library | Books - create an environmental library in your Diocese, Area Council, or Charge. The Church in Society committee has created a list of recommended books and offer micro grants to support book groups. | Training & Education
T7.04 | 73 | Start a book group | Form a regenerative church book group to drive climate action and creation care through discussions and actions. | Training & Education
T7.03 | 72 | Explore themes in your Lent or Advent groups | Explore the wider range of educational and theological materials around climate change and Christian ecological responses. Lent and Advent Groups offer opportunities to respond in spiritually creative ways to the climate crisis. | Training & Education
T8.01 | 80 | Embed care for Creation | Embed care for God's creation in all of the Church's life, through our preaching, liturgy, worship and prayer, and in the way that we use the resources available to us. | Rooted Worship
T8.02 | 81 | Celebrate the Season of Creation | Celebrate the Season of Creation (1 September - 4 October) through services, liturgy teaching and events (SEC Liturgy) | Rooted Worship
T8.03 | 82 | Arrange Climate Sundays | Hold an annual climate-focused service on Climate Sunday, to explore the theological and scientific basis of creation care and climate action, to pray, and to commit to action. | Rooted Worship
T8.04 | 83 | Pray for change | Pray for change - many creative resources are available for praying for God's earth, and for justice for the most vulnerable | Rooted Worship
T8.05 | 84 | Plan a pilgrimage | Plan a pilgrimage - an opportunity for people to reconnect with God and nature and make a point of creatively seeking to minimise the environmental impact of the trip. | Rooted Worship
T8.06 | 85 | Engage across generations | Engage with young people and children, explore their insights and commitment to change, and encourage the adult church community to listen. Help young people to network with others. | Rooted Worship
T8.07 | 86 | Join Eco-Congregation Scotland | Join Eco-Congregation Scotland to share in and learn from the collective wisdom of many other Scottish churches seeking care for God's creation and climate action and produce a plan to become an Eco-Church. | Rooted Worship
T8.08 | 87 | Review worship consumables | Review all of the consumables used in worship (See also Zero Waste). Specially, reduce or eliminate single-use plastic containers and minimize other forms of packaging; reduce the combustion of fossil fuels in candles and thuribles; use printed liturgy and hymn books or projected texts rather than single-use printed orders of service (except on special occasions where they might be considered as souvenirs of the occasion); use locally produced and seasonal floral materials rather than imported blooms; in floral arrangements find alternatives to ‘Oasis’ which do not leave a lasting residue of microplastics in the environment. | Rooted Worship
T9.01 | 90 | Apply for CARES funding | Apply for a Scottish Government’s Community and Renewable Energy Scheme (CARES) grant of up to 80% of eligible costs up to a maximum of £80k. Available for air source heat pumps, solar panels, energy efficiency measures and those committed to decarbonising your heating. Note requirement for community usage of building. | Positive Finances
T9.02 | 91 | Apply for BES loan and cashback | Apply for a Business Energy Scotland loan to support the installation of heat pumps or for energy efficiency measures. Up to £100k support available with up to 75% cashback up to a value of £30k. | Positive Finances
T9.03 | 92 | Invest ethically | Follow SEC policy and guidelines on divestment and investments. Consider supporting the work of the Bright Now campaign (Operation Noah) and Make My Money Matter. | Positive Finances
T9.04 | 93 | Seek support from your Net Zero Champion | Seek support from your local Net Zero Champion (positions forthcoming) on applying for grants and funding to know what support is available within your Diocese. | Positive Finances
T9.05 | 94 | Review the SEC funding database | Review the forthcoming funding database for further grants and community-based funding schemes that can help support Net Zero work. (Update coming with refreshed listings/funding database). | Positive Finances
T9.06 | 95 | Search the SCVO funding database | Find funding using the free SCVO online search engine. From small grants to funding for big capital projects, it can help you track down the funding you need to make a difference. | Positive Finances
T9.07 | 96 | Apply to the SEC Provincial Buildings Committee Grant fund | Apply for financial support from the Provincial Buildings Committee grant fund, clearly demonstrating the carbon savings from each element of your application. Further guidance and criteria regarding the Net Zero related applications will be provided soon. | Positive Finances
T10.01 | 100 | Join with other Christian groups | Join Christian Climate Action Scotland & Green Christian | Build A Movement
T10.02 | 101 | Form an eco-group | Form an eco-group in your church as a starting point to discuss this toolkit and to engage with the Diocesan Eco Group and the SEC over the longer term | Build A Movement
T10.03 | 102 | Engage with spiritual partners | Engage with other churches, ecumenical partners, interfaith groups, and local community groups on climate issues; explore how you might work together, share skills and encourage one another. Engage with youth groups and community groups (e.g. local parks, offering things in the local parks for others rather than just in our churches). Church In Society will provide support to enable engagement with schools and care homes on these issues. | Build A Movement
T10.04 | 103 | Promote local initiatives and groups | Promote local environmental initiatives through the church magazine, posters, notices, and prayer. | Build A Movement
T10.05 | 104 | Host events and talks | Host public events, such as talks and workshops on climate issues, or offer your space for others to host events. | Build A Movement
T10.06 | 105 | Learn from other organisations and use their resources | Follow the work of others - Tearfund, Christian Aid and the Joint Public Issues Team all have resources to help participation both in and out of church. | Build A Movement
T10.07 | 106 | Join Eco-Congregation Scotland | Eco-Congregation Scotland has lots of advice and suggestions for congregations - on energy use, liturgical resources and much more. | Build A Movement

## cards
number | nav_order | title | part_of_petal_with_title | part_of_task_with_title | part_of_step_with_title | icon_shortcode | @cardpetal | @petalcolour | @cardicon | StepNum | description | quote | attribution | carbon_stars | cost | easy_wins | magic_wand | @Magic_Wand_icon | carbon_number | description_word_count | quote_word_count | more_quotes
1 | 1 | Maintain buildings and keep them dry | Energy Efficiency Improvements | Maintain the building | Basic Actions | keepdry | energyefficiency.svg | energyefficiencycolour.svg | keepdry.svg | 1 | <p>If a building falls into disrepair this has a huge carbon and financial cost. Our most important action is to use your quinquennial survey to identify areas for immediate action. A sound roof with adequate rainwater clearance will also make the building stay warm more easily and feel more comfortable. Ventilation is also important to keep the building dry even in traditional buildings, especially to vent moist air after people have been in. Don’t be tempted to reduce it without taking advice. Ensure work is carried out using breathable materials and maintain your ventilation features, for instance, by clearing leaves from low level air intakes.</p> | It wasn't raining when Noah built the ark. | Traditional gospel song | ***** | £££ | [6 empty] | A stitch in time saves nine. ― proverb
2 | 2 | Provide maintenance contact details | Energy Efficiency Improvements | Maintain the building | Basic Actions | maintenancecontact | energyefficiency.svg | energyefficiencycolour.svg | maintenancecontact.svg | 1 | <p>When users don’t know who to contact, they take things into their own hands. That may mean bringing in space heaters, turning on the oven and hob to warm the space, and blocking exits open with fire extinguishers. You need to know what problems they’re having and to be able to get detailed descriptions if there are issues that a worker needs to sort out for you. If you have occasional or loosely managed user groups in, you may need signage with contact details.</p> | It's good to talk. | 1990s advertising campaign | ** | £ | 1
3 | 3 | Keep maintenance records and plan for change | Energy Efficiency Improvements | Maintain the building | Basic Actions | maintenancerecords | energyefficiency.svg | energyefficiencycolour.svg | maintenancerecords.svg | 1 | <p>Planning for change means you won't get caught out when equipment fails. For electrics, you want new equipment to be as efficient as possible. Heating takes special care because you want to do things in the right order. For instance, it’s best to put in underfloor heating when the flooring is being changed, not afterwards. Good planning requires maintenance records so you can spot recurring problems and save you scrapping a whole system when one part fails.</p><p>If you still have a non-condensing boiler, you should make planning your next heating system a top priority.</p> | When people can see a vision and simultaneously recognise what can be done step by step … they will begin to feel encouragement and enthusiasm. | Erich Fromm | ** | £ | [6 empty] | “By failing to prepare, you are preparing to fail.” ― Benjamin Franklin
4 | 4 | Consider your worship patterns and where you meet | Energy Efficiency Improvements | Get your plan right | Basic Actions | hats | energyefficiency.svg | energyefficiencycolour.svg | hats.svg | 1 | <p>Some churches have already decided that the best-dressed worshippers are wearing blankets. Others are rethinking the convention that only women and bishops wear hats indoors and wondering how the congregation would feel about processional hymns. One church is wondering whether they can enable congregations to worship in their halls December to February - it’s more intimate and suits some people better. If nothing else, perhaps this card will lead to some interesting conversations about how we worship, where we worship and why.</p> | Change is the law of life. And those who look only to the past or present are certain to miss the future. | John F. Kennedy | *** | £ |  | 1 | magicwand.svg
6 | 6 | Share your building | Energy Efficiency Improvements | Get your plan right | Basic Actions | sharebuilding | energyefficiency.svg | energyefficiencycolour.svg | sharebuilding.svg | 1 | <p>If your building serves the community well, it’s easier to afford changes and get grants, and it’s good for mission too. Think about whether your building is used as well as it could be. If you’re struggling to manage a building that could be used more, you may be able to combine forces with another group that needs space. Some groups know the building would be used if they could maintain and market it better, and lease it to a new independent charity that has the energy to make that happen - with them as the first user group.</p> | … gonna try with a little help from my friends. | The Beatles | *** | £ |  | 1 | magicwand.svg |  |  |  | "We all have to live together, so we might as well live together happily." ― Dalai Lama or We have all known the long loneliness, and we have found that the answer is community. ― Dorothy Day
7 | 7 | Get energy assessments for your buildings | Energy Efficiency Improvements | Take expert advice | Basic Actions | energyassessment | energyefficiency.svg | energyefficiencycolour.svg | energyassessment.svg | 1 | <p>A professional assessment will help you prioritise your actions - but keep in mind the assessors can't always tailor their advice to how you use your building or how that might change in the future. For your housing, you should obtain an up-to-date Energy Performance Certificate (EPC) survey and also review guidance on the SEC's minimum standards for rectories. For other modest buildings, you could use a free energy efficiency assessment from Business Energy Scotland. For larger, listed buildings you may wish to consider getting a survey by a qualified Mechanical and Electrical Engineer via the Chartered Institution of Building Services Engineers.</p> | Never doubt that a small group of thoughtful, committed citizens can change the world; indeed, it's the only thing that ever has. | Margaret Mead |  | ££ | 1
8 | 8 | Use smart meters | Energy Efficiency Improvements | Take expert advice | Basic Actions | smartmeter | energyefficiency.svg | energyefficiencycolour.svg | smartmeter.svg | 1 | <p>Twice hourly smart meter readings will help the UK reduce the number of power stations we need. Smart meters have a display you can put elsewhere to show how much energy you use. If the supplier won’t give you all the data, you can get it using a third party app. The full data will allow you and your professionals to spot waste and estimate the cost of energy for room hires. </p><p> Installers can test the meter will be able to connect to the network before installation. The meters have improved greatly in the last few years.</p> | Smart meters are … helping the UK deliver a cleaner and more efficient energy system, … saving tens of billions of pounds in the process. | Lord Callanan, Minister for Climate Change | ** | £
9 | 9 | Check your thermostat and its location | Energy Efficiency Improvements | Heat at the right times | Reduce Energy Demand | thermostat | energyefficiency.svg | energyefficiencycolour.svg | thermostat.svg | 2 | <p>Many community buildings have thermostats or temperature sensors that don’t work because they are on a very cold wall or in a corner without good airflow. It’s also common to find wired ones that are no longer wired in and wireless ones with flat batteries. If your space ever overheats, you’ll want to check this. A flat battery can also cause some systems to come on permanently or using a default heating schedule.</p> | Faith is taking the first step even when you don’t see the whole staircase. | Martin Luther King Jr. | ** | £ | 1
10 | 10 | Check your frost arrangements | Energy Efficiency Improvements | Heat at the right times | Reduce Energy Demand | frostsettings | energyefficiency.svg | energyefficiencycolour.svg | frostsettings.svg | 2 | <p>Heating a building to preserve it is a last resort. Most wet heating systems can protect themselves by turning on just the pumps or warming the water very gently. Keeping the building dry and well-ventilated is often enough for the building and its contents, especially if you can insulate any vulnerable water pipes. Your architect can advise you. If you really have to introduce heat, it’s much more efficient to install controls that will enforce a minimum “setback” temperature than to turn the heating on a little bit every day. </p> | It ain't the heat, it's the humility. | Yogi Berra | * | £ | 1
11 | 11 | Fix a cold radiator | Energy Efficiency Improvements | Heat at the right times | Reduce Energy Demand | coldradiator | energyefficiency.svg | energyefficiencycolour.svg | coldradiator.svg | 2 | <p>If a radiator is too cold to the touch and not heating a room enough, you or your installer may have turned up the boiler thermostat or increased the pump speed to compensate - or your users might find their own energy-wasting ways to cope. It’s better to find out why the radiator is cold in the first place. A broken Thermostatic Radiator Valve (TRV), stuck valve, air or sludge in the radiator, a faulty pump, or an unbalanced system can all cause this problem.</p> | Be faithful in small things because it is in them that your strength lies. | Mother Teresa | ** | ££
12 | 12 | Reduce the hot water temperature | Energy Efficiency Improvements | Heat at the right times | Reduce Energy Demand | hotwatersetting | energyefficiency.svg | energyefficiencycolour.svg | hotwatersetting.svg | 2 | <p>What to do for this card depends on whether you have a hot water cylinder (storage tank) or something that supplies hot water on demand - either a combi-boiler or a point-of-service hot water heater. </p><p>Hot water cylinders have to be kept above 60C to deter Legionella bacteria. This usually means setting your boiler thermostat at 70C or higher.</p><p>If the hot water isn’t being stored, then you can set it for what feels right at the taps. 50C is a good starting point.</p> | When you have a healthy environment, you have a healthy economy. That’s what the world is starting to understand. | François-Philippe Champagne | * | £ | 1
13 | 13 | Review heating and hot water timings | Energy Efficiency Improvements | Heat at the right times | Reduce Energy Demand | hotwatertimer | energyefficiency.svg | energyefficiencycolour.svg | hotwatertimer.svg | 2 | <p>Lots of buildings waste energy by not matching the heating well enough to when people are in. In addition, turning the heating off well before the last people leave means the system won’t waste energy trying to bring the space back up to temperature just because the door has been open. If you struggle to get the timings right with your current system, consider updating your heating controls. Some models let you set the times over the internet and “optimised start control” would mean you don’t have to predict how long the space will take to warm up.</p> | Timeliness is best in all matters. | Hesiod | ** | £ | 1
14 | 14 | Limit access to heating controls | Energy Efficiency Improvements | Manage who can change the heating | Reduce Energy Demand | heatinglock | energyefficiency.svg | energyefficiencycolour.svg | heatinglock.svg | 2 | <p>If building users don’t feel comfortable, they may take matters into their own hands and change timed controls, turn up radiators or bring their own plug-in heating. If this is happening frequently, look at how adjustments can be made to reduce the need for users to seek their own solutions. Consider reduced range thermostats or limiting pins or covers. If you have a thermostat in one room that turns off heating in rooms with other groups, smart Thermostatic Radiator Valves might help. </p><p>If your main heating system is very slow, you probably shouldn’t let users turn it on at all. </p> | Harmony makes small things grow, lack of it makes great things decay. | Sallust | ** | £ | 1 | [5 empty] | "Peace be within thy walls, and prosperity within thy palaces." ― Psalm 122:7
15 | 15 | Disable the heating in summer | Energy Efficiency Improvements | Manage who can change the heating | Reduce Energy Demand | summerdisable | energyefficiency.svg | energyefficiencycolour.svg | summerdisable.svg | 2 | <p>The best way to be sure you aren’t using any gas or electricity for heating is to turn the heating completely off, especially if your users can bring the heating on. Radiators are a popular way of warming croissants in all seasons. Even if your users don’t bring the heating on, your system might. For instance, if you keep your usual heating diary set and just rely on the thermostat to keep the heating off, your system is probably firing up the boilers just in case.</p> | I generally avoid temptation unless I can't resist it. | Mae West | * | £ | 1 | [5 empty] | Prevention is better than cure. ― Desiderius Erasmus
16 | 16 | Restrict access to heating plant | Energy Efficiency Improvements | Manage who can change the heating | Reduce Energy Demand | noentry | energyefficiency.svg | energyefficiencycolour.svg | noentry.svg | 2 | <p>Users don’t understand how boilers work, but if they aren’t happy, they’ll turn dials and press buttons. It’s especially important for them not to re-pressurise boilers themselves, even though they may think they know how to do this from home. If they do it while the system is running, that could damage it. </p><p>If your boiler is in a public space, you may need to be creative about how to use joinery or paper blu-tacked over the controls to give the message that they are not for use.</p> | Never put off until tomorrow what you can do today. | Saying | *** | £ | 1
17 | 17 | Control your fan convectors | Energy Efficiency Improvements | Make your heating more efficient | Reduce Energy Demand | controlfanconvector | energyefficiency.svg | energyefficiencycolour.svg | controlfanconvector.svg | 2 | <p>Fan convectors are often set to dump heat too fast, making people uncomfortable because the heating bangs on and off. They usually have controls that let you set the fan speed and slow it down when the space is approaching the right temperature, which is a form of “load compensation” to keep it from overshooting. You should consider consulting with an engineer on whether the current settings are right for you. To find the controls, they may need to take the cover off. Whilst they are reviewing the settings, consider cleaning the filter! </p> | If you take the first step in faith, the others come easier. We walk by faith and not by sight. | Martin Luther King Jr. | * | £ | 1
18 | 18 | Turn down your boiler thermostat | Energy Efficiency Improvements | Make your heating more efficient | Reduce Energy Demand | turndownboiler | energyefficiency.svg | energyefficiencycolour.svg | turndownboiler.svg | 2 | <p>Condensing boilers can’t recover wasted heat unless the flow temperature is around 70C or below. The lower the flow temperature, down to 45C, the better the heat recovery works and sometimes the gentler heat is more comfortable. Lowering the flow temperature is more likely to work for buildings with generously sized radiators, low heat loss, and longer heating periods. The lower the setting, the earlier you have to turn on the heating, so you’ll need to experiment to find the most efficient setting. </p><p>Non-condensing boilers and ones that feed hot water tanks should be run at 70C or above. </p> | The aim of the game is to Limbo, And see how low can you go. | Chubby Checker | ** | £ | 1
19 | 19 | Update your boiler controls | Energy Efficiency Improvements | Make your heating more efficient | Reduce Energy Demand | boilercontrols | energyefficiency.svg | energyefficiencycolour.svg | boilercontrols.svg | 2 | <p>Most systems don’t have modern energy efficiency controls, but they can be cheap enough they’re even used in houses. If you are heating the building based on an event schedule, you probably want “optimised start control”. This learns when to turn the heating on depending on the weather. If you heat for longer periods or most of the day, “weather compensation” is more appropriate so the system runs cooler when it’s warm out. If your spaces warm quickly, you might benefit from “load compensation”, which slows the heating down as it reaches temperature so it won’t overshoot.</p> | The Church welcomes technological progress and receives it with love. | Pope Pius XII | *** | £££
20 | 20 | Turn off hot water preheat | Energy Efficiency Improvements | Make your heating more efficient | Reduce Energy Demand | hotwaterpreheat | energyefficiency.svg | energyefficiencycolour.svg | hotwaterpreheat.svg | 2 | <p>On a combi-boiler, “hot water preheat” keeps a bit of water hot at all times. It makes the water in your tap run hot faster. If you’re lucky, there’s an “Eco” button on your boiler to turn it off. If your building users then complain, an electrician could link it to the heating timings. If you have high hot water demand, you might also benefit from a CombiSave to restrict water flow until it’s hot.</p><p>Usually hot water delay is because of the distance between boiler and tap. If it’s a problem, consider electric point-of-use hot water heaters. </p> | Who ever is out of patience is out of possession of their soul. | Francis Bacon | * | £ | 1
21 | 21 | Maintain your radiators and fan convectors | Energy Efficiency Improvements | Make your heating more efficient | Reduce Energy Demand | spacefanconvector | energyefficiency.svg | energyefficiencycolour.svg | spacefanconvector.svg | 2 | <p>If air can’t move through a radiator or fan convector, they won’t heat the space. Don’t let users pile things around them. Also, dusty radiators won’t shed heat as fast as they should. Check any fins especially. Dust in fan convectors is even worse because it can damage them. Clean or change the filters regularly. </p><p>If a radiator gets warm at the bottom but not the top, it needs bleeding when the system is cold and off. If it is cold at the bottom or there are leaks anywhere, you should get that fixed. </p> | A place for everything and everything in its place. | Proverb | * | £ | 1
22 | 22 | Zone your heating | Energy Efficiency Improvements | Heat less space | Reduce Energy Demand | heatingzones | energyefficiency.svg | energyefficiencycolour.svg | heatingzones.svg | 2 | <p>Zoning means making it possible to set timings for the heating that apply to less than the whole building. That used to mean motorised valves and separate pipework to different spaces. A more modern approach is to use “smart” radiator valves that let you programme the heating in each room independently. That isn’t as efficient as proper zoning, but it’s much cheaper and less disruptive.</p><p>Zoning also helps with electric heating to make sure you or your users can bring on just the right ones at the right times. </p> | Well begun is half done. | Aristotle | *** | ££
23 | 23 | Reduce the size of heated spaces | Energy Efficiency Improvements | Heat less space | Reduce Energy Demand | heatedspace | energyefficiency.svg | energyefficiencycolour.svg | heatedspace.svg | 2 | <p>Many community buildings have high ceilings. Putting in a false ceiling can substantially reduce the amount of heating you need. If it’s not possible to insulate the roof, false ceilings can be doubly attractive as it might be possible to insulate them in a “cold roof” design. </p><p>Similarly, if you have no option but to put small groups in large spaces, finding a way to partition them into smaller ones - either permanently or as needed - can reduce your heating bills and might increase your income. Architects tell us churches need more ambitious briefs to serve their communities well. </p> | Architecture is the art of how to waste space. | Philip Johnson (architect) | **** | ££££ |  | 1 | magicwand.svg
24 | 24 | Cluster users together | Energy Efficiency Improvements | Heat less space | Reduce Energy Demand | clusterusers | energyefficiency.svg | energyefficiencycolour.svg | clusterusers.svg | 2 | <p>Sometimes a building will have several halls, all of them lightly used, and just moving people so they are in the same or adjacent spaces will save on heating. If using a heat the people approach, such as pew heaters (see 'Install heated seating' card), only heat the seats you anticipate will be used. People are unlikely to sit where it's cold so they will be drawn to sit where the heaters are on and you can use this technique to cluster users and reduce the need to heat areas that aren’t being used. </p> | Let's get together and feel alright. | Bob Marley | *** | £ | 1 | [5 empty] | We have all known the long loneliness, and we have found that the answer is community. ― Dorothy Day
25 | 25 | Force the lights or heating off | Energy Efficiency Improvements | Waste less electricity | Reduce Energy Demand | motionsensor | energyefficiency.svg | energyefficiencycolour.svg | motionsensor.svg | 2 | <p>Lights in community buildings are frequently left on by accident. If the light switch also controls an extractor fan, this can waste a lot of heating. </p><p>Some lights and fans have motion sensing built in. For others, you can have an electrician add a separate motion sensor. They can sense movement up to 30 feet away, so can be used in relatively large rooms and don’t take much power to run.</p> | Come on baby, do the locomotion. | Gerry Coffin and Carole King | * | ££ | 1
26 | 26 | Put countdown timers on big electrics | Energy Efficiency Improvements | Waste less electricity | Reduce Energy Demand | countdownswitch | energyefficiency.svg | energyefficiencycolour.svg | countdownswitch.svg | 2 | <p>Electric heating, urns and sound equipment often get left on, even overnight. You can buy special “countdown timers" or “time delay push” switches that will only supply electricity to a device for a set amount of time before the user will need to use the switch again. There are also timers available, although they're only useful if the electrics should be on for a very regular schedule. Alternatively, you could put in hotel-style keycards that control whether electricity is supplied to some circuits.</p> | The future starts today, not tomorrow. | Pope John Paul II | *** | ££ | 1
27 | 27 | Update your lighting | Energy Efficiency Improvements | Waste less electricity | Reduce Energy Demand | updatelighting | energyefficiency.svg | energyefficiencycolour.svg | updatelighting.svg | 2 | <p>Fluorescent lamps are being phased out. If you’re using them for anything important, change them urgently. For high pressure sodium (HPS), LEDs would use 40-75% of the power and look better. Whether that’s an important change depends on how powerful they are and how often you use them. </p><p>When you make a change, think about whether your lights are the right power and in the right place, and also look at the energy efficiency of the LEDs you put in. New generation LEDs take half the power of the most common ones. </p> | Each one of us matters, has a role to play, and makes a difference. | Jane Goodall | ** | ££ | 1
28 | 28 | Change to point-of-use hot water on demand | Energy Efficiency Improvements | Only heat the water you need | Reduce Energy Demand | pointofuse | energyefficiency.svg | energyefficiencycolour.svg | pointofuse.svg | 2 | <p>Electric point-of-use hot water heaters only heat the hot water you need on demand. That’s a good change if you have an old, badly insulated tank that could fail soon or if you can’t predict when hot water is needed. It can also be good if you have a condensing boiler that you are only running at high temperature to keep the tank safe, or if there aren’t many taps and they’re a long way from the tank. If your hot water heating is currently on a timer, at least make sure the times are right for you.</p> | No problem can withstand the assault of sustained thinking. | Voltaire | ** | ££
29 | 29 | Create a draught lobby | Energy Efficiency Improvements | Keep warm air in | Address Heat Loss | lobby | energyefficiency.svg | energyefficiencycolour.svg | lobby.svg | 3 | <p>Heat is lost when doors and windows are opened to the outside. By providing sufficient space for the outer door to be closed before opening the inner door, the draught lobby functions a bit like an air lock. If you need to have both doors open at the same time, a draught lobby won’t help.</p><p>Draught lobbies can be either inside the building - essentially adding a vestibule - or outside. Often they are made in glass to avoid the building becoming less welcoming and incorporate automatic doors to save energy and make the building more accessible.</p> | It always seems impossible until it's done. | Nelson Mandela | *** | £££
30 | 30 | Close doors between heated and unheated spaces | Energy Efficiency Improvements | Keep warm air in | Address Heat Loss | closedoors | energyefficiency.svg | energyefficiencycolour.svg | closedoors.svg | 3 | <p>It’s obvious why this makes sense - the hard part is understanding why the doors are open. If users just forget to close the door, a cheap hydraulic door closer might help. If groups feel it must be open to welcome people, you might be able to install a glass panel so newcomers can see what is happening inside the space. If users struggle to enter the space unaided, then you will need either a more expensive automatic door or to station someone at the door to help. </p> | Let us make our future now, and let us make our dreams tomorrow's reality. | Malala Yousafzai | ** | ££ | 1
31 | 31 | Draughtproof the building | Energy Efficiency Improvements | Keep warm air in | Address Heat Loss | draughtproof | energyefficiency.svg | energyefficiencycolour.svg | draughtproof.svg | 3 | <p>Draughts let cold air in and make people uncomfortable. Consider windows including cracked glass, doors, loft hatches, holes from previous extractor fans, and gaps around pipework, in floorboards, and under skirting boards. Professionals have access to better materials and skills than you do. Draughtproofing windows is expensive but can make all the difference.</p><p>Blocking up original ventilation features could make your building damp - if you think they let in too much air, take professional advice. In rectories, chimneys can have their airflow reduced with a chimney balloon, chimney cap, or a board covering the hearth, but they do need some airflow.</p> | Our shelter from the stormy blast. | Isaac Watts | ** | £££ | 1 | [5 empty] | The older you get the stronger the wind gets - and it's always in your face. ― Pablo Picasso or "I love the feeling of the fresh air on my face and the wind blowing through my hair". ― Evel Knievel
32 | 32 | Improve or install extractor fans | Energy Efficiency Improvements | Keep warm air in | Address Heat Loss | extractorfan | energyefficiency.svg | energyefficiencycolour.svg | extractorfan.svg | 3 | <p>Extractor fans are useful in some spaces to remove moist or stale air, but they also cause heat loss. It’s worth exploring getting extractor fans which recover the heat and put it back into the building by transferring it to fresh air from outside. This is worth the added cost for fans that are often on. </p><p>Extractor fans can come on and go off with the lights, come on with the lights but run longer, work from a pull cord, or run automatically based on the relative humidity. The right choice matters and depends on the application.</p> | Don't fight forces, use them. | R. Buckminster Fuller | ** | ££ | 1
33 | 33 | Add close-fitting thermal curtains or blinds | Energy Efficiency Improvements | Keep warm air in | Address Heat Loss | curtains | energyefficiency.svg | energyefficiencycolour.svg | curtains.svg | 3 | <p>Thermal curtains and blinds cut draughts and block cold surfaces from making people uncomfortable. The cheapest option is tightly woven or foam-backed lined curtains that fit well. More expensive options perform better because they use fancier materials or trap air movement by adding a box at the top (a 'pelmet') or are blinds that attach to the window frame. Some home sewers can make cheap but effective curtains and blinds. </p><p> You can put a curtain on a fire exit to help during a building’s warm-up, but it must be left open when people are in. </p> | Heavy, lined curtains … can reduce heat loss [from single-glazed sash windows] by 14%. | Historic Environment Scotland advice web page | ** | £££
34 | 34 | Get the ventilation right | Energy Efficiency Improvements | Keep warm air in | Address Heat Loss | ventilation | energyefficiency.svg | energyefficiencycolour.svg | ventilation.svg | 3 | <p>Most buildings have lots of ways to control the ventilation and assume people will be sensible, for instance, closing vents while a space warms up and opening them to release moist air when people leave. Help your users know what to do. You may want to add features like window trickle vents to make things easier, or consider our extractor fan card. </p><p>If you don’t know how much ventilation you need a relative humidity sensor will tell you. The Health and Safety Executive has guidance about using a CO2 monitor for health safety checks.</p> | Many hands make light work. | Proverb | *** | £
35 | 35 | Place foil behind radiators | Energy Efficiency Improvements | Insulate what you can | Address Heat Loss | radiatorfoil | energyefficiency.svg | energyefficiencycolour.svg | radiatorfoil.svg | 3 | <p>If a radiator is working well and mounted on a cold external wall, it may lose much of the heat to the wall, not to the air in the room. There are products you can mount behind these radiators with foil on one side and insulation on the other. They help by reflecting the heat back into the room. The more radiators this technique is applied to, the greater the temperature impact. It’s nowhere near as good as insulating the wall, but at least it’s cheap and easy to do while you organise bigger changes.</p> | The journey of a thousand miles begins with one step. | Lao Tzu | * | £ | 1
36 | 36 | Insulate under the ground floor | Energy Efficiency Improvements | Insulate what you can | Address Heat Loss | insulatefloor | energyefficiency.svg | energyefficiencycolour.svg | insulatefloor.svg | 3 | <p>The heat lost through floors is usually less than through other surfaces, but because people touch the floor, it has a big effect on their comfort. Even carpets help some. For suspended timber floors, breathability matters. Consider hemp batting hung in nets under the joists or breathable boards lain on runners attached to the joists. Some floorboards might have to come up temporarily to add them. </p><p>Solid floors generally lose less heat than suspended ones. Concrete and other floors that can’t be lifted are either insulated over the top, creating a step up, or when the floor needs replaced. </p> | You must be the change you wish to see in the world. | Mahatma Gandhi | **** | £££
37 | 37 | Insulate the roof | Energy Efficiency Improvements | Insulate what you can | Address Heat Loss | insulatewroof | energyefficiency.svg | energyefficiencycolour.svg | insulatewroof.svg | 3 | <p>In an uninsulated building, the roof is usually the first insulation action to take. You could create a “cold roof” by laying insulation above the ceiling of the top floor, leaving the loft space cold and well-ventilated, or a “warm roof” by placing rigid boards between and over the roof rafters. As always, in traditional buildings breathability matters. Cold roof designs save more energy because they are more effective and reduce the heated space. If your roof can’t be insulated, you may be able to install a false ceiling and insulate above that.</p> | Press forward. Do not stop, do not linger in your journey, but strive for the mark set before you. | George Whitefield | **** | £££
38 | 38 | Insulate the walls | Energy Efficiency Improvements | Insulate what you can | Address Heat Loss | insulatewalls | energyefficiency.svg | energyefficiencycolour.svg | insulatewalls.svg | 3 | <p>Wall insulation can be outside, inside, or in the cavity within the wall. The right way to insulate a wall depends on the context. If you can insulate externally, that’s usually the most effective solution. With traditional mass masonry walls, you need the insulation to be breathable and there are more options than you might think. You could have cellulose pellets blown behind the lathe and plaster, insulation applied to the existing masonry, plaster, or wall linings, or a timber frame that holds insulation in place, making a big space a bit smaller. </p> | The biggest human temptation is to settle for too little. | Thomas Merton | **** | ££££
39 | 39 | Insulate hot pipes and tanks | Energy Efficiency Improvements | Insulate what you can | Address Heat Loss | insulatepipes | energyefficiency.svg | energyefficiencycolour.svg | insulatepipes.svg | 3 | <p>You don’t want to lose heat to the wrong spaces. Unless your pipes are contributing useful heating, they should be insulated, including in the boiler room. A good installer will insulate all the tricky bits of pipework, not just the straight lengths and ensure that they are not a burn hazard.</p><p>It’s also important to insulate hot water cylinders. Modern cylinders often have hardened foam insulation but older ones might need more. The modern standard is 80mm. You can “top up” with a cylinder jacket of the right size. </p> | Never lose an opportunity of urging a practical beginning, however small. | Florence Nightingale | * | ££ | 1
40 | 40 | Make surfaces warmer | Energy Efficiency Improvements | Insulate what you can | Address Heat Loss | rugscushions | energyefficiency.svg | energyefficiencycolour.svg | rugscushions.svg | 3 | <p>Historically, soft furnishings have been used to reduce the impact of really cold surfaces. This works because fabrics warm up much faster than stone and present a warmer surface that doesn't soak up your body heat so quickly. Carpets, seat cushions, wall tapestries, and chairs that cocoon the sitter to get between their head and the ceiling are all approaches that have stood the test of time. Of course it's not like having central heating, but they do help.</p> | Start by doing what's necessary; then do what's possible; and suddenly you are doing the impossible. | Francis of Assisi | ** | £££ | 1
41 | 41 | Replace single glazing with double or triple | Energy Efficiency Improvements | Improve your glazing | Address Heat Loss | singletodouble | energyefficiency.svg | energyefficiencycolour.svg | singletodouble.svg | 3 | <p>Slim-line double glazing is acceptable in many listed buildings. If you have Victorian windows in a good state, consider refurbishing them and replacing just the glass. They’ll have as much life left in them as a modern window. When you choose, think about how ventilation will work for your users. They can’t use what they can’t reach, but it’s more comfortable if they aren’t right in the draught. Trickle vents provide finer control in cold weather than opening the window. </p><p>Triple glazing costs more than double and is only worth it if your walls are well insulated. </p> | Where the glazing … is not historically significant, double glazing units such as slimline can often be fitted into the existing window frames. | Historic Environment Scotland advisory standard | **** | £££££
42 | 42 | Install secondary glazing | Energy Efficiency Improvements | Improve your glazing | Address Heat Loss | glazing | energyefficiency.svg | energyefficiencycolour.svg | glazing.svg | 3 | <p>Secondary glazing can be a very good option in some buildings, especially if changes to the original single glazing are not allowed. It has the advantage of improving the window draughtproofing - in some installations ventilation in winter can be supplied just by opening the secondary glazing a crack. It’s generally cheaper than double glazing but perhaps half as effective. A lot depends on how well the windows fit and the distance between the panes. 12mm is the ideal for heat loss, although a bigger distance is better for noise reduction. </p> | Surely we all have a responsibility to care for our Blue Planet. The future of humanity and indeed, all life on earth, now depends on us. | Sir David Attenborough | **** | £££££
43 | 43 | Install temporary secondary glazing | Energy Efficiency Improvements | Improve your glazing | Address Heat Loss | tempglazing | energyefficiency.svg | energyefficiencycolour.svg | tempglazing.svg | 3 | <p>If you don’t need to open the windows in winter for ventilation, it is possible to cut polycarbonate sheets to the size of the window reveal and mount them inside, for instance, using magnetic tape. A good polycarbonate should last ten years without discolouring. It scratches and you’ll need to find a place to store it in the summer if you can’t leave it up. This isn’t as good as proper glazing, but it will make a noticeable difference to single glazing especially if the windows don’t fit well. </p><p>Don't forget to review the insulation around your window frames too. </p> | Nobody made a greater mistake than he who did nothing because he could do only a little. | Edmund Burke | ** | ££
44 | 44 | Install heated seating | Clean Energy | Decarbonise your heating | Decarbonise | heatedpews | cleanenergy.svg | cleanenergycolour.svg | heatedpews.svg | 4 | <p>One way of making people comfortable is applying heat to the people instead of trying to heat the entire space - like with heated car seats. Some churches are moving to heated pew cushions. There are both small rechargeable ones and ones that are wired permanently into the mains. You can also get under-pew heaters and panel heaters that mount vertically on, for instance, the back of pews and on altars. </p> | The hotter body's heat will pass to the cooler … that's a physical law! | Flanders and Swann | ***** | ££££
45 | 45 | Add or switch to radiant heating | Clean Energy | Decarbonise your heating | Decarbonise | infraredheater | cleanenergy.svg | cleanenergycolour.svg | infraredheater.svg | 4 | <p>If you can’t address heat loss, it doesn’t make sense to try to heat the air in the space and keep it in the building. Instead, you could install radiant heaters that act like mini suns for use just when people are in, providing heat directly to the people. There are charges that use them successfully as the sole heating solution across churches, halls, and offices. The system must be carefully designed with the right wave length for the space, and it works better if the furniture doesn’t block the heat. Not all of them glow and it's possible to get chandeliers.</p> | … people have felt warm throughout the coldest months … [the energy cost] is so low that it's just a no-brainer. | Andrew Wood, Treasurer, St Matthew's Bristol | ***** | ££££
46 | 46 | Replace your boiler with a heat pump | Clean Energy | Decarbonise your heating | Decarbonise | heatpump | cleanenergy.svg | cleanenergycolour.svg | heatpump.svg | 4 | <p>Heat pumps take heat from the outside air or ground using the same kind of technology as refrigerators, but in reverse. Installing pumps is expensive but there are grants available and if you can raise the costs, the running costs make it worth it. They usually warm water but they can warm the air directly. You may need underfloor heating unless you have low heat loss, generous radiators, and pipework big enough to deliver the heat using lower temperature water than on your old system. If you do need to install underfloor heating, ensure underfloor insulation as part of the design. </p> | Our species has been the cause of such corruption and devastation … that we are in danger ending life as we know it on our planet. | Islamic Declaration on Global Climate Change | ***** | £££££
47 | 47 | Connect to a district heating network | Clean Energy | Decarbonise your heating | Decarbonise | districtheating | cleanenergy.svg | cleanenergycolour.svg | districtheating.svg | 4 | <p>In district heating, the heat is generated elsewhere in the neighbourhood and delivered via insulated pipes. You may be able to find information about plans for future low carbon heating networks for your city or local region that use waste heat from electricity generation or industrial processes, or low carbon technologies with efficiencies of scale. Expect an expensive building retrofit. Just like a heat pump, district heating delivers heat at lower temperatures than our current boilers, so it often requires underfloor heating and good use of heat loss measures. </p> | A problem shared is a problem halved. | Proverb | **** | £££££
48 | 48 | Switch to a verified green electricity tariff | Clean Energy | Buy green electricity | Decarbonise | verifiedtariff | cleanenergy.svg | cleanenergycolour.svg | verifiedtariff.svg | 4 | <p>To reduce emissions associated with Scope 2 emissions, PEG recommend charges move to a verified 100% renewable electricity tariff. Many tariffs that claim 100% renewable are susceptible to greenwashing. To help charges select tariffs that are credible, PEG intend to use criteria adopted by the Church Energy Advisors Network which go beyond simple reliance on trading Renewable Energy Guarantees of Origin (REGO). These criteria review whether a company’s tariffs are all renewable, whether they rely on offsetting, whether units sold are the same as those supported by REGOs, whether the company has its own generation and whether purchase from other generators is direct.</p> | Trust, but verify. | Russian proverb | * | £
49 | 49 | Turn sunshine into electricity | Clean Energy | Install solar panels | Generate Energy | solarpower | cleanenergy.svg | cleanenergycolour.svg | solarpower.svg | 5 | <p>Photovoltaic (PV) solar panels generate electricity for immediate use, battery storage, or sale to the grid. For most community buildings they make more sense than using panels to heat water. If your roof is weak, high up, has lots of obstacles, or is the wrong orientation or wrong slope, maybe you have enough space for ground mounted panels. On a roof, think about the impact on rainwater clearance. Solar slates are coming but are expensive and still have teething problems. </p><p>You should consider planning permission requirements in your area. If finance is an issue, solar cooperatives might be willing to take your site on.</p> | The first rule of sustainability is to align with natural forces, or at least not try to defy them. | Paul Hawken | **** | ££££
50 | 50 | Get a grant | Positive Finances | Review the SEC funding database | Address Heat Loss | grant | postivefinance.svg | positivefinancecolour.svg | grant.svg | 3 | <p>There are currently two significant funding streams available from the Scottish Government which provide financial help to implement measures in these cards. Community And Renewable Energy Scheme (CARES) (which as of writing covers up to 80% of the total cost for heat pumps up to a maximum £80K via the Let’s Do Net Zero Community Buildings Fund) and Business Energy Scotland (with a £100k 8-year interest free loan with up to 75% of total costs up to a maximum of £30k available via cashback for eligible measures per independent charity). Note that CARES funding applications must demonstrate high community amenity and good occupancy.</p> | To accomplish great things, we must not only act, but also dream; not only plan, but also believe. | Anatole France |  |  |  | 1 | magicwand.svg |  |  |  | A dream doesn’t become reality through magic; it takes sweat, determination, and hard work. ― Colin Powell
51 | 51 | Offset your carbon use | Positive Finances | Invest ethically | Decarbonise | offset | postivefinance.svg | positivefinancecolour.svg | offset.svg | 4 | <p>You should only be considering carbon offsetting if you have exhausted or achieved all other possibilities for absolute emissions reduction. For an offsetting scheme to be genuine, it must demonstrate long term permanent storage of carbon with a low risk of reversal. Many offsetting schemes perpetrate other injustices such as displacing communities, double counting, or even destroying natural carbon sinks. Furthermore, global land use demand for forestry offset plans is currently around 1.2 billion hectares (roughly the same land mass as the USA and Mexico combined). The world simply doesn’t have a spare continent available for offsetting.</p> | The greatest threat to our planet is the belief that someone else will save it. | Robert Swan | [8 empty] | You cannot escape the responsibility of tomorrow by evading it today. ― Abraham Lincoln or "Practice what you preach."
52 | 100 | Wildcard | N/A | N/A | N/A | wildcard | wildcard.svg | wildcardcolour.svg | wildcard.svg |  | <p>We can’t think of everything that might suit your circumstances. For instance, one church could get their hall warm after they built a buggy park outside - because otherwise when the children came in, all the heat escaped. You'll need to be curious about your building and your users to use this card well.</p> | To invent, you need a good imagination and a pile of junk. | Thomas A. Edison
53 | 53 | Track temperature and relative humidity | Energy Efficiency Improvements | Get your plan right | Reduce Energy Demand | datalogging | energyefficiency.svg | energyefficiencycolour.svg | datalogging.svg | 2 | <p>A small, discreet "data logger" will take temperature and relative humidity readings at regular intervals and save them for you to pick up or send them to an internet service. Their data plots will show trends and patterns that will help you get the heat to the right places at the right times and get better professional energy efficiency advice. Churches often use them to monitor damp or to discover that a small expenditure on the right controls saves them a lot of gas. </p><p>If you have fancy heating controls, they might already log temperature for you.</p> | If you can measure something, then you have some control over it. | Georg Joachim Rheticus (medieval astronomer) | ** | £
54 | 54 | Choose a heating approach | Energy Efficiency Improvements | Get your plan right | Basic Actions | localisedheating | energyefficiency.svg | energyefficiencycolour.svg | localisedheating.svg | 1 | <p>Most systems make people warm by heating the air. If your building lets the warm air escape, that's expensive and bad for the environment. Measures like insulation can be too expensive if you don't use a space much, or too difficult in fancy buildings. There are other ways to make people warm. You could install radiant "on demand" heating or heated seating, for instance. It's not all or nothing. You might heat the people in some spaces and the air in others, or both a bit, depending on the circumstances. Just making a deliberate choice is an important step. </p> | The future belongs to those who give the next generation reason for hope. | Teilhard de Chardin |  |  |  | 1 | magicwand.svg

## tags
title | nav_order | tagline | icon_shortcode | icon_alt_text
Quick Wins | 1 | Actions that are quick to do and could be very helpful. | quick | Quick Wins
Magic Wands | 2 | Actions to reconsider if you feel stuck. | magicwand | Magic Wand

## links
link_url | tagline | source | petal | task | card
https://www.scotland.anglican.org/vestry-resources/buildings/sources-of-guidance-to-churches-on-heating-of-buildings/ | Sources of Guidance to Churches on Heating of Buildings | Provincial Buildings Committee, SEC | Energy Efficiency Improvements | Make your heating more efficient
https://www.imeche.org/docs/default-source/1-oscar/Get-involved/specialist-interest-groups/eesg/imeche-ps-energy-hierarchy-2020-final.pdf | The Energy Hierarchy - a powerful tool for sustainability | Institution of Mechanical Engineers | Energy Efficiency Improvements | Get your plan right
https://www.engineshed.scot/publications/publication/?publicationId=246ff4ae-1483-452a-8fb3-a59500bd05d5 | Improving energy efficiency in Traditional Buildings | Historic Environment Scotland | Energy Efficiency Improvements | Make your heating more efficient
https://www.cibse.org/ | Chartered Institution of Building Services Engineers | Chartered Institution of Building Services Engineers |  | Take expert advice
https://www.historicenvironment.scot/advice-and-support/your-property/saving-energy-in-traditional-buildings/insulate-your-property/#insulate-your-property_tab | Energy Efficiency and Old Buildings - Principles and Priorities | Society for the Protection of Ancient Buildings (SPAB) | Energy Efficiency Improvements | Get your plan right
https://www.scotland.anglican.org/vestry-resources/buildings/responsibilities-of-the-property-convener/ | Responsibilities of the Property Convener | Provincial Buildings Committee, SEC |  | Maintain the building
https://www.youtube.com/watch?v=hYK7buBx8gQ | Energy-Saving Quick Wins Video | Matt Fulford, Inspired Efficiency | Energy Efficiency Improvements
https://www.youtube.com/watch?v=HMYw4Zc2JGc | Energy Efficiency In Church Buildings | Roger Curtis & Dr Louisa Humm, Historic Environment Scotland | Energy Efficiency Improvements
https://youtu.be/1aXoxGupLXE | Conservation pitfalls and how to avoid them, en route to Net Zero Carbon | Tobit Curteis Associates LLP | Energy Efficiency Improvements | Get your plan right
https://youtu.be/TLpoR7-WOBE?t=157 | Improving the Thermal Performance of Church Buildings | Iona Case Study, Wham Architecture | Energy Efficiency Improvements | Make your heating more efficient
https://www.scotland.anglican.org/vestry-resources/buildings/quinquennial-surveys/ | Quinquennial surveys | SEC Vestry Resources | Energy Efficiency Improvements | Get your plan right | Maintain buildings and keep them dry
https://www.scotland.anglican.org/vestry-resources/buildings/maintenance-and-building-work-for-your-church-some-practical-considerations/ | Maintenance and Building Work for your Church – Some Practical Considerations | Provincial Buildings Committee |  | Maintain the building | Maintain buildings and keep them dry
https://www.youtube.com/watch?v=Fh0Ad3FKDrE | How to tell cement mortar from lime - video | LimeWorks (US source) |  |  | Maintain buildings and keep them dry
https://www.engineshed.scot/building-advice/building-materials/lime/ | Lime mortar and limewash | Engine Shed/Historic Environment Scotland |  |  | Maintain buildings and keep them dry
https://www.historicenvironment.scot/archives-and-research/publications/publication/?publicationId=9b3ca2e8-afcc-42ba-92c3-a59100fde12b | Traditional home maintenance, but also useful introduction for our buildings | Historic Environment Scotland |  |  | Maintain buildings and keep them dry
https://www.gov.uk/guidance/smart-meters-how-they-work | Smart meters - a guide for households | UK Government |  |  | Use smart meters
https://loop.homes/what-is-loop/ | Loop app - one example of a third party app for accessing smart meter data | Loop (supplier) |  |  | Use smart meters
https://www.degreedays.net/ | Degree Day Calculations - technical method for assessing heating control | BizEE Software |  |  | Use smart meters
https://www.boilerguide.co.uk/articles/frost-protection-heating | How does boiler frost protection work? | Boiler Guide (comparison site) |  |  | Check your frost arrangements
https://www.churchofengland.org/sites/default/files/2021-01/CCB_frost_protection_COVID_guidance_issue1_January2021.pdf | Frost protection for churches | Church of England |  |  | Check your frost arrangements
https://youtu.be/1XIFuU27xY0 | Frost protection for heating systems and building fabric - video, from 19:07 | Church Care |  |  | Check your frost arrangements
https://www.youtube.com/watch?v=sjyEkLwHtTc | How to Bleed a Radiator - video | British Gas |  |  | Fix a cold radiator
https://www.hhic.org.uk/uploads/5AD714191F6D1.pdf | Balancing the central heating system | Heating& Hotwater Industry Council |  |  | Fix a cold radiator
https://www.youtube.com/watch?v=pACSeFDwZpg | Example of automatic balancing via "return temperature limiters" | Plumber Parts (supplier) |  |  | Fix a cold radiator
https://www.hse.gov.uk/healthservices/legionella.htm | Legionella advice | Health & Safety Executive |  |  | Reduce the hot water temperature
https://youtu.be/tdd-BzeyVxE | How to set a programmable room thermostat - video | Centre for Sustainable Energy (charity) |  |  | Review heating and hot water timings
https://www.draytoncontrols.co.uk/news/unlocking-secrets-trv4-0 | Explanation of one TRV with limiting features | Drayton (supplier) |  |  | Limit access to heating controls
https://www.draytoncontrols.co.uk/product/trv4-range-limiting-pins | Drayton TRV limiting pins | Drayton (supplier) |  |  | Limit access to heating controls
https://www.youtube.com/watch?v=_VvtRxOoO3k | Danfoss TRV limiting pins | Danfoss (supplier) |  |  | Limit access to heating controls
https://www.draytoncontrols.co.uk/product/drayton-tamperproof-trv-guard | Example tamper-proof TRV cover | Drayton (supplier) |  |  | Limit access to heating controls
https://store.danfoss.com/en/Climate-Solutions-for-heating/Hydronic-floor-heating/Room-controls/Danfoss-Icon-tamper-proof-cover-86x86/p/088U1113 | Example tamper-proof room thermostat cover | Danfoss (supplier) |  |  | Limit access to heating controls
https://www.theheatinghub.co.uk/articles/turn-down-the-boiler-flow-temperature | Explanation of boiler flow temperatures | The Heating Hub |  |  | Turn down your boiler thermostat
https://www.warmworld.co.uk/ | Example of a programmable room stat that limits what users can do and has optimised start control | Warmworld (supplier) |  |  | Update your boiler controls
https://www.ephcontrols.com/section/delay-start-thermostat/ | Example of a thermostat with upper and lower limits and no permanent override | EPH (supplier) |  |  | Update your boiler controls
https://www.trustedreviews.com/reviews/honeywell-evohome-2 | Example combining zoning with optimised start control | Trusted Reviews |  |  | Update your boiler controls
https://www.trustedreviews.com/reviews/tado-smart-thermostat-v3-plus | Example combining zoning and weather compensation | Trusted Reviews |  |  | Update your boiler controls
https://wiser.draytoncontrols.co.uk/blog/wiser-customer-stories-supporting-local-community-hub-save-energy-and-money | Community hall case study for one system | Drayton (supplier) |  |  | Update your boiler controls
https://www.theheatinghub.co.uk/articles/Worcester-hot-water-preheat | Turn off the preheat on your Worcester combi boiler (website also has other boilers) | The Heating Hub |  |  | Turn off hot water preheat
https://www.youtube.com/watch?v=sjyEkLwHtTc | How to Bleed a Radiator - video | British Gas |  |  | Maintain your radiators and fan convectors
https://heathack.org/a-mid-price-fix-for-trvs | Description of cheap programmable TRV | HeatHack |  |  | Zone your heating
https://theevohomeshop.co.uk/honeywell-evohome/ | Example of a system with "smart" TRV zoning | Honeywell (supplier) |  |  | Zone your heating
https://www.trustedreviews.com/reviews/honeywell-evohome-2 | Example combining zoning with optimised start control | Trusted Reviews |  |  | Zone your heating
https://www.trustedreviews.com/reviews/tado-smart-thermostat-v3-plus | Example combining zoning and weather compensation | Trusted Reviews |  |  | Zone your heating
https://www.toolstation.com/electronic-time-delay-push-switch/p50205 | Example switch - installer sets time | Toolstation (supply store) |  |  | Put countdown timers on big electrics
https://www.carbontrust.com/resources/lighting-overview-guide | General overview of lighting non-domestic spaces - slightly old | Carbon Trust |  |  | Update your lighting
https://lamphq.com/beam-angle/ | Calculating required beam angles | Lamp HQ (supply store) |  |  | Update your lighting
https://www.downlightsdirect.co.uk/advice/downlights/which-beam-angle-to-choose/ | Rough explanation of how to check a lighting design | Downlights direct (supply store) |  |  | Update your lighting
https://ledlightguides.com/convert-fluorescent-to-led-lights/ | Choosing retrofit LEDS for fluorescent tubes | LED Lights Guide (supply store) |  |  | Update your lighting
https://www.london.anglican.org/kb/how-to-install-glass-doors-in-your-church/ | Considerations for glass doors and draught lobbies in churches | Church of England Diocese of London |  |  | Create a draught lobby
https://energysavingtrust.org.uk/advice/draught-proofing/ | Draughtproofing advice | Energy Savings Trust |  |  | Draughtproof the building
https://www.historicenvironment.scot/advice-and-support/your-property/saving-energy-in-traditional-buildings/draught-proof-your-property/ | Draughtproof your property | Historic Environment Scotland |  |  | Draughtproof the building
https://energysavingtrust.org.uk/how-draught-proof-your-chimney/ | How to draughtproof your chimney | Energy Savings Trust |  |  | Draughtproof the building
https://youtu.be/1XIFuU27xY0 | Draughtproofing in churches (video - from 44:15) | ChurchCare |  |  | Draughtproof the building
https://www.firstinarchitecture.co.uk/building-fabric-05-airtightness/ | Explanation of airtightness with a diagram of likely leaks (technical) | First In Architecture (resource for students) |  |  | Draughtproof the building
https://www.amazon.co.uk/Arctic-Hayes-ARC333113-333113-Smoke-Sticks/dp/B009BUDDHM/ | Smoke pen example (for testing vents) | Amazon (supply store) |  |  | Draughtproof the building
https://www.architecturelab.net/how-heat-recovery-systems-work/ | About heat recovery generally | Architecture Lab (magazine) |  |  | Improve or install extractor fans
https://www.vent-axia.com/healthyhomes/simplesolution/extractfans_heatrecovery | Example extractor fan with heat recovery - video | Vent-Axia (supplier) |  |  | Improve or install extractor fans
https://www.historicenvironment.scot/archives-and-research/publications/publication/?publicationId=f3e97c76-b4fa-4c76-a197-a59400be931b | Thermal performance of traditional windows (technical) | Historic Environment Scotland |  |  | Add close-fitting thermal curtains or blinds
https://www.scotland.anglican.org/vestry-resources/appointments-and-employment/minimum-standards-for-clergy-housing/ | Minimum Standards For Clergy Housing Guidance |  |  |  | Add close-fitting thermal curtains or blinds
https://www.nationaltrust.org.uk/features/how-to-make-thermal-curtains | How to make thermally interlined curtains | National Trust |  |  | Add close-fitting thermal curtains or blinds
https://www.doityourself.com/stry/thermal-curtains-vs-blackout-curtains | How to make thermal Roman blinds | Do It Yourself (website) |  |  | Add close-fitting thermal curtains or blinds
https://www.hse.gov.uk/ventilation/assessing-the-risk-of-poor-ventilation.htm | Assessing the risk of poor ventilation | Health & Safety Executive |  |  | Get the ventilation right
https://nepc.raeng.org.uk/infection-resilient-environments | Infection resilient environments | Royal Academy of Engineering |  |  | Get the ventilation right
https://www.engineeringtoolbox.com/air-change-rate-room-d_867.html | Air change rate requirements for typical buildings (technical) | Engineering Toolbox |  |  | Get the ventilation right
https://www.hse.gov.uk/ventilation/using-co2-monitors.htm. | Using CO2 monitors | Health & Safety Executive |  |  | Get the ventilation right
https://heatkeeper.co.uk/products/heatkeeper-radiator-reflector-panels | Radiator Reflector Panels | HeatKeeper (supplier) |  |  | Place foil behind radiators
https://iwarm-en.techinfus.com/radiatory/teplovoj-ekran.html | Heat reflecting screen behind radiator (technical) | iwarm |  |  | Place foil behind radiators
https://www.historicenvironment.scot/advice-and-support/your-property/saving-energy-in-traditional-buildings/insulate-your-property/#insulate-your-property_tab | Insulate your property | Historic Environment Scotland |  | Insulate what you can | Insulate the roof
https://www.insulation-info.co.uk/insulation-types | Basic introduction to types of insulation | Insulation Info (industry source) |  |  | Insulate the roof
https://energysavingtrust.org.uk/advice/roof-and-loft-insulation/ | Roof insulation designs | Energy Savings Trust |  |  | Insulate the roof
https://ww3.rics.org/uk/en/journals/built-environment-journal/understanding-spray-foam-insulation.html | Risks of spray foam insulation | Royal Institution of Chartered Surveyors |  |  | Insulate the roof
https://www.gov.uk/government/publications/retrofit-internal-wall-insulation-best-practice | Retrofit internal wall insulation - Best practice | UK Government |  |  | Insulate the walls
https://www.historicenvironment.scot/archives-and-research/publications/publication/?publicationId=179c1909-3679-4486-9583-a59100fa98c1 | Fabric improvements for energy efficiency in traditional buildings | Historic Environment Scotland |  |  | Insulate the walls
https://www.firstinarchitecture.co.uk/building-fabric-02-insulation-materials/ | Basic explanation of types of insulation | First In Architecture (resource for students) |  |  | Insulate the walls
https://www.historicenvironment.scot/advice-and-support/your-property/saving-energy-in-traditional-buildings/insulate-your-property/#floors_tab | Brief introduction to floor insulation | Historic Environment Scotland |  |  | Insulate under the ground floor
https://www.historicenvironment.scot/archives-and-research/publications/publication/?publicationId=179c1909-3679-4486-9583-a59100fa98c1 | Short Guide - Fabric Improvements for Energy Efficiency | Historic Environment Scotland |  |  | Insulate under the ground floor
https://www.gov.scot/publications/tables-of-u-values-and-thermal-conductivity/ | U-value calculations - table shows many glazing options (technical) | Scottish Government |  |  | Replace single glazing with double or triple
https://www.homebuilding.co.uk/advice/secondary-glazing | Secondary glazing - general explanation | Homebuilding & Renovating (magazine) |  |  | Install secondary glazing
https://www.gov.scot/publications/tables-of-u-values-and-thermal-conductivity/ | U-value calculations - table shows many glazing options (technical) |  |  |  | Install secondary glazing
https://www.engineshed.scot/building-advice/building-materials/glass/ | General advice for decorative glass | Engine Shed/Historic Environment Scotland |  |  | Install secondary glazing
https://www.cse.org.uk/advice/advice-and-support/secondary-glazing | Secondary glazing (including the cheap options) | Centre for Sustainable Energy (charity) |  |  | Install temporary secondary glazing
https://www.historicenvironment.scot/archives-and-research/publications/publication/?publicationId=4d0179ad-3306-42a0-87d8-a59300faac09 | Refurbishment Case Study with temporary secondary glazing | Historic Environment Scotland |  |  | Install temporary secondary glazing
https://www.cse.org.uk/advice/advice-and-support/secondary-glazing | Secondary glazing (including temporary) | Centre for Sustainable Energy (charity) |  |  | Install temporary secondary glazing
https://www.youtube.com/watch?v=aEBbSkjkCik | Temporary secondary glazing - video | Eco Lewes (volunteer group) |  |  | Install temporary secondary glazing
https://www.churchofengland.org/sites/default/files/2023-01/green-energy-companies-and-the-energy-footprint-tool-jan-2023.pdf | 100% verified renewable tariffs criteria | Church Energy Advisory Network | Clean Energy | Buy green electricity | Switch to a verified green electricity tariff
https://historicengland.org.uk/advice/caring-for-heritage/places-of-worship/making-changes/advice-by-topic/heating/ | Heating Historic Places of Worship | Historic England | Clean Energy | Get your plan right
https://www.youtube.com/playlist?list=PLAfV-_ab0mU9neAq3oOX3EnXFHUYrmkeg | Future of Heating in Historic Buildings Conference 2022 |  | Clean Energy
https://youtu.be/Wx8lq-ogl8M | Church Heating - Practical Considerations | Andrew MacOwan, Chartered Energy Engineer | Clean Energy | Get your plan right
https://youtu.be/WpwMTdOZeWI | Net Zero Carbon - Exploring Hybrid Heating Options | Andrew MacOwan, Chartered Energy Engineer | Clean Energy | Decarbonise your heating
https://www.youtube.com/watch?v=wbzIYAxG-bQ&list=PLAfV-_ab0mU9neAq3oOX3EnXFHUYrmkeg&index=2 | Carbon reduction options for churches | Dan McNaughton, Historic England | Clean Energy | Decarbonise your heating
https://www.churchofengland.org/sites/default/files/2022-09/Technical_guidance_note_heated_cushions_Marown_pilot.pdf | Rechargeable cushions case study | Church of England |  |  | Install heated seating
https://www.hrballiance.org.uk/news/roving-reporter/heated-pew-cushions/ | Wired pew cushions case study | Historic Religious Buildings Alliance |  |  | Install heated seating
https://www.pewheating.com/ | Example of wired pew cushions | KovoSchmidt (supplier) |  |  | Install heated seating
https://www.herschel-infrared.co.uk/heating-heritage-buildings/churches/ | Chandelier option for ornate spaces | Herschel (supplier) |  |  | Add or switch to radiant heating
https://drive.google.com/file/d/15-CijFg7u7EidODN_bEGbDCHpAoC_nVH/view | Range of options for churches | Herschel (supplier) |  |  | Add or switch to radiant heating
https://www.solray.co.uk/bespoke-design-for-st-martin-of-tours-church-in-epsom/ | Church case study with discreet panels | Solray (supplier) |  |  | Add or switch to radiant heating
https://www.nationalgrid.com/stories/energy-explained/what-is-a-heat-pump | What is a heat pump | National Grid | Clean Energy | Decarbonise your heating | Replace your boiler with a heat pump
https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/1044598/6.7408_BEIS_Clean_Heat_Heat___Buildings_Strategy_Stage_2_v5_WEB.pdf | UK Heat and Buildings Strategy | Department of Business, Energy, and Industrial Strategy | Clean Energy | Get your plan right | Replace your boiler with a heat pump
https://www.youtube.com/watch?v=_2mkfUxlkzw | Practical tips about heat pumps in churches | Church of England Environment Programme |  |  | Replace your boiler with a heat pump
https://www.heatgeek.com/do-i-need-to-upgrade-my-radiators-for-a-heat-pump/ | Assessing radiators for use with a heat pump | HeatGeek |  |  | Replace your boiler with a heat pump
https://www.churchofengland.org/about/environment-and-climate-change/towards-net-zero-carbon-case-studies/st-mary-willesborough | Case study of underfloor heating in a church | Church of England Environment Programme |  | Decarbonise your heating | Replace your boiler with a heat pump
https://www.achurchnearyou.com/church/10125/page/43744/view/ | Air to air church case study 1 | Church of England - A Church Near You |  | Decarbonise your heating | Replace your boiler with a heat pump
https://www.churchofengland.org/sites/default/files/2022-08/Scalford_casestudy.pdf | Air to air church case study 2 | Church of England - A Church Near You |  | Decarbonise your heating | Replace your boiler with a heat pump
https://localenergy.scot/resources-overview/contractors-and-suppliers/capital-works-suppliers/ | Accredited heat pump installers operating in Scotland | Local Energy Scotland |  |  | Replace your boiler with a heat pump
https://localenergy.scot/casestudy/st-ninians-rc-church/ | Heat Pump CARES grant example - St Ninians RC, Dundee | Local Energy Scotland |  |  | Replace your boiler with a heat pump
https://localenergy.scot/casestudy/cairnlea-parish-church/ | Heat Pump Cares Grant Example - Cairnlee Parish Church Hall | Local Energy Scotland |  |  | Replace your boiler with a heat pump
https://historicengland.org.uk/advice/technical-advice/retrofit-and-energy-efficiency-in-historic-buildings/low-and-zero-carbon-technologies/installing-heat-pumps-in-historic-buildings/ | Installing Heat Pumps in Historic Buildings | Historic England | Clean Energy | Decarbonise your heating | Replace your boiler with a heat pump
https://youtu.be/lCJtYRGYfZA | Viability of Air Source Heat Pumps in Churches - video | Andrew McQuatt, Max Fordham | Clean Energy | Decarbonise your heating | Replace your boiler with a heat pump
https://historicengland.org.uk/services-skills/training-skills/training/webinars/recordings/webinar-on-the-use-of-heat-pumps-in-historic-buildings/ | Use of Heat Pumps in Historic Buildings | Historic England Webinar | Clean Energy | Decarbonise your heating | Replace your boiler with a heat pump
https://guidetodistrictheating.eu/guidance-for-cities-and-towns/is-district-heating-suitable-for-my-area/ | Guide to where district heating is suitable | European Union |  |  | Connect to a district heating network
https://www.aberdeencity.gov.uk/services/housing/home-energy-efficiency/home-energy-savings/energy-efficiency-council-tenants/district-heating | Aberdeen District Heating Examples |  |  |  | Connect to a district heating network
https://historicengland.org.uk/advice/caring-for-heritage/places-of-worship/making-changes/advice-by-topic/heating/ | Managing Change in the Historic Environment - Micro-renewables | Historic Environment Scotland | Clean Energy | Install solar panels
https://www.historicenvironment.scot/advice-and-support/planning-and-guidance/our-role-in-planning/#development-management_tab | Our role in planning | Historic Environment Scotland | Clean Energy | Get your plan right | Turn sunshine into electricity
https://www.renewableenergyhub.co.uk/main/solar-panels/ground-mounted-solar-panels/ | Ground Mounted Solar Panel Systems | Renewable Energy Hub |  |  | Turn sunshine into electricity
https://localenergy.scot/resource/solar-pv/ | Solar panels for community buildings | Local Energy Scotland |  |  | Turn sunshine into electricity
https://energysavingtrust.org.uk/tool/solar-energy-calculator/ | Solar energy calculator - but the incentives for community buildings are not the same | Energy Savings Trust |  |  | Turn sunshine into electricity
https://www.transport.gov.scot/active-travel/active-travel-framework/ | Scottish Government 'Active travel’ framework | Scottish Government | Active Travel
https://energysavingtrust.org.uk/advice/buying-a-second-hand-electric-car-or-van/ | Second-hand electric vehicle guidance | Energy Saving Trust | Active Travel
https://www.sciencedirect.com/science/article/pii/S0921344920307072?via%3Dihub | The overlooked environmental footprint of increasing Internet use | Resources, Conservation & Recycling Journal | Active Travel
https://www.zerowastescotland.org.uk/citizens | Zero Waste Scotland | Zero Waste Scotland | Zero Waste
https://repaircafe.org/en/ | Repair Café | Repair Café | Zero Waste
https://www.waterwise.org.uk/save-water/ | Waterwise | Waterwise | Zero Waste
https://www.bbc.co.uk/iplayer/episode/m00049b1/climate-change-the-facts | Climate Change - The Facts, a documentary by Sir David Attenborough | BBC | Training & Education
https://www.bbc.co.uk/programmes/p076w7g5 | Climate Change - The Facts, a documentary by Sir David Attenborough (4 minute summary) | BBC | Training & Education
https://www.simonandschuster.co.uk/books/Saving-Us/Katharine-Hayhoe/9781982143848 | Saving Us | Katherine Hayhoe | Training & Education | Start a book group
https://www.tearfund.org/campaigns/christianity-and-climate-change-film-series | Tear Fund’s series of films on ‘Christianity and Climate Change’ | Tear Fund | Training & Education
https://seasonofcreation.org/resources/ | Season of Creation | Season of Creation | Rooted Worship | Celebrate the Season of Creation
https://www.climatesunday.org | Climate Sunday | Climate Sunday | Rooted Worship
https://www.scotland.anglican.org/who-we-are/publications/liturgies/season-of-creation-worship-material-for-experimental-use/ | Season of Creation resources for Eucharist & Daily Prayer and intercessory resources | Scottish Episcopal Church | Rooted Worship | Celebrate the Season of Creation
http://sustainable-preaching.org/ | Sustainable Preaching | Sustainable Preaching | Rooted Worship | Embed care for Creation
https://funding.scot/ | funding.scot | SCVO | Positive Finances | Search the SCVO funding database
https://www.bankingonclimatechaos.org/ | Banking on Climate Chaos Report | Banking on Climage Chaos Report |  | Invest ethically
https://www.ecocongregationscotland.org/ | Eco-congregation Scotland | Eco-congregation Scotland | Build A Movement | Join Eco-Congregation Scotland
https://greenchristian.org.uk/ | Green Christian | Green Christian |  | Join with other Christian groups
https://joyinenough.org/ | Joy in Enough | Green Christian | Training & Education | Embed care for Creation
https://www.scotland.anglican.org/vestry-resources/buildings/provincial-building-grants-and-loans/ | Provincial Buildings Committee grant fund | Scottish Episcopal Church | Positive Finances | Apply to the SEC Provincial Buildings Committee Grant fund | Get a grant
https://makemymoneymatter.co.uk | Make my Money Matter | Make my Money Matter | Positive Finances | Invest ethically
https://brightnow.org.uk | BrightNow | Operation Noah | Positive Finances | Invest ethically
https://businessenergyscotland.org/smeloan/ | Business Energy Scotland loan and cashback | Business Energy Scotland | Positive Finances | Apply for BES loan and cashback | Get a grant
https://localenergy.scot/funding/lets-do-net-zero-community-buildings-fund/ | Community and Renewable Energy Scheme (CARES) grant scheme | Local Energy Scotland | Positive Finances | Apply for CARES funding | Get a grant
https://www.scotland.anglican.org/vestry-resources/buildings/sources-of-funding-for-repairs-and-improvements-to-church-buildings/ | Sources of Funding for Repairs and Improvements to Church Buildings | Provincial Buildings Committee | Energy Efficiency Improvements | Review the SEC funding database | Get a grant
https://www.arocha.org/en | A Rocha | A Rocha | Thriving Biodiversity
https://www.nature.scot/scotlands-biodiversity/make-space-nature | Nature Scot | Nature Scot | Thriving Biodiversity
https://www.communitywoods.org/funding-1 | Community Woodlands | Community Woodlands | Thriving Biodiversity
https://scottishwildlifetrust.org.uk/things-to-do/helping-wildlife-at-home/ | Scottish Wildlife Trust | Scottish Wildlife Trust |  | Make use of Scottish Wildlife Trust resources
https://www.incredibleedible.org.uk/ | Incredible Edible | Incredible Edible |  | Incredible Edible
https://www.woodlandtrust.org.uk/ | Woodland Trust | Woodland Trust | Thriving Biodiversity
https://www.greenspacescotland.org.uk/ | Greenspace Scotland | Greenspace Scotland | Build A Movement | Partner with local initiatives
https://www.stopclimatechaos.scot/three-ways-to-make-our-buildings-fit-for-the-future/ | Stop Climate Chaos Scotland | Stop Climate Chaos Scotland | Build A Movement
https://www.gov.scot/publications/scotlands-climate-assembly-research-report-process-impact-assembly-member-experience/ | Climate Assembly Scotland | Climate Assembly Scotland | Build A Movement
https://transitionnetwork.org/ | Transition Network | Transition Network | Build A Movement | Promote local initiatives and groups
https://www.peersfortheplanet.org/ | Peers for the Planet | Peers for the Planet | Build A Movement
https://www.futurelearn.com/courses/enabling-community-based-leadership-in-design-sustainable-development-of-historic-faith-buildings | Sustainable Development in Historic Faith Buildings | FutureLearn | Training & Education
https://www.ourplace.scot/ | Our Place | Our Place | Build A Movement
https://christianclimateaction.org/ | Christian Climate Action | Christian Climate Action | Build A Movement | Join with other Christian groups
https://jpit.uk | Joint Public Issues Team - Baptist Union of Great Britain, Methodist Church and URC | Joint Public Issues Team - Baptist Union of Great Britain, Methodist Church and URC |  | Join with other Christian groups
https://www.ecen.org/ | European Christian Environment Network | European Christian Environment Network |  | Join with other Christian groups
https://ecochurch.arocha.org.uk/resources/buildings/ | A Rocha | A Rocha | Energy Efficiency Improvements
https://www.churchofengland.org/about/environment-and-climate-change | The Church of England Environment Programme | The Church of England Environment Programme | Build A Movement
https://www.tearfund.org/campaigns/christianity-and-climate-change-film-series | Tearfund | Tearfund |  | Join with other Christian groups
https://www.christianaid.org.uk/campaigns/climate | Christian Aid | Christian Aid |  | Join with other Christian groups
https://operationnoah.org/ | Operation Noah ¦ A Christian response to climate change | Operation Noah ¦ A Christian response to climate change | Build A Movement | Invest ethically
https://acen.anglicancommunion.org | Anglican Communion Environmental Network | Anglican Communion Environmental Network | Build A Movement | Join with other Christian groups
https://www.eas.org.uk/ | Energy Action Scotland | Energy Action Scotland | Build A Movement
https://www.shechangesclimate.org | SHE Changes Climate | SHE Changes Climate | Build A Movement
https://www.netzeronation.scot | Net Zero Nation (Scotland) | Scottish Government | Energy Efficiency Improvements
https://www.christianaid.org.uk/pray/faith-resources/climate-justice-resources | Climate Justice Faith Resources | Christian Aid | Rooted Worship | Embed care for Creation
https://www.tearfund.org/get-involved/resources?Audience=Advocacy | Teafund Advocacy Resources | Tearfund | Rooted Worship
https://ctbi.org.uk/season-of-creation-2023/ | Season of Creation resources from CTBI | Churches Together in Britain and Ireland (CTBI) | Rooted Worship | Celebrate the Season of Creation
https://www.churchofengland.org/about/environment-and-climate-change/environment-prayer-worship-and-teaching | Church of England Environment in prayer, worship and teaching Resources (online and in print) | Church of England Environment in prayer, worship and teaching Resources (online and in print) | Rooted Worship | Embed care for Creation
https://laudatosimovement.org/download/laudato-si-movement-prayer-book/ | Laudato Si Movement Prayerbook | Laudato Si Movement | Rooted Worship | Embed care for Creation
https://cafod.org.uk/pray/prayer-resources/climate-prayers | Climate Prayers | CAFOD | Rooted Worship | Embed care for Creation
https://www.greenanglicans.org/ | Green Anglicans | Green Anglicans | Rooted Worship
https://acen.anglicancommunion.org/ | Anglican Communion Environmental Network (ACEN) | Anglican Communion Environmental Network (ACEN) | Rooted Worship
https://www.waterstones.com/author/annabel-shilson-thomas/674428 | BOOK - Creation Sings Your Praise - A Christian Aid Worship Book | Christian Aid | Rooted Worship | Embed care for Creation
https://www.brfonline.org.uk/collections/children-and-family-ministry/products/outdoor-church-20-sessions-to-take-church-outside-the-building-for-children-and-families | BOOK - Outdoor Church - 20 sessions to take church outside the building for children and families | Sally Welch | Rooted Worship | Embed care for Creation
https://www.churchofengland.org/prayer-and-worship/worship-texts-and-resources/time-creation | BOOK - A Time for Creation. Liturgical resources for Creation and the Environment | Robert Atwell, Christopher Irvine, Sue Moore | Rooted Worship | Embed care for Creation
https://www.climateemergencytoolkit.com | Climate Emergency Toolkit | Tearfund & partners | Build A Movement | Learn from other organisations and use their resources
https://docs.google.com/document/d/1hiNe_HTNJKTIUOYM-gA-ib1mJmgd2LkQbffRye1HvuI/edit?usp=sharing | Net Zero Book List Recommendations | Willie Shaw, Church In Society & Provincial Environment Group Member |  | Start a book group
https://docs.google.com/document/d/1hiNe_HTNJKTIUOYM-gA-ib1mJmgd2LkQbffRye1HvuI/edit?usp=sharing | Net Zero Book List Recommendations | Willie Shaw, Church In Society & Provincial Environment Group Member |  | Start an eco-book library
https://www.incredibleedible.org.uk | Incredible Edible | Incredible Edible |  | Engage with Incredible Edible
https://www.keepscotlandbeautiful.org | Keep Scotland Beautiful | Keep Scotland Beautiful |  | Get Climate Literate training
https://www.pas.org.uk | Planning Aid Scotland | Planning Aid Scotland | Energy Efficiency Improvements
https://www.pas.org.uk | Planning Aid Scotland | Planning Aid Scotland | Clean Energy
https://www.scotland.anglican.org/vestry-resources | Vestry Resources | Scottish Episcopal Church |  | Vestry and congregational engagement
https://www.scotland.anglican.org/who-we-are/organisation/bishops-and-their-dioceses/diocese-of-aberdeen-orkney/ | Diocese websites | Scottish Episcopal Church |  | Connect with your local Diocesan Environmental Group
https://sei.scot/resources/ | Scottish Episcopal Institute | Scottish Episcopal Church | Training & Education

## Carbon_costs_validations
Carbon Emissions Saving Options | Cost Saving Options
* | £
** | ££
*** | £££
**** | ££££
***** | £££££

## removed-cards
For localised or space heating? | New card title | New category | SEC target area | 100 words | 25 word motivation | carbon stars | cost | Status | Old category | Old card title | print form of cost | Column1
space |  | Address heat loss | Energy Efficiency Excellence |  |  | 2 | ££ | consolidated | Heat loss measures | Insulate hot water pipework and tank
|  | Address heat loss | Energy Efficiency Excellence |  |  | ? | ? | consolidated | Heat loss measures | Control ventilation automatically
|  | Reduce demand | Energy Efficiency Excellence |  |  | 3 | ££ | consolidated | Windows | Install blinds against solar gain
|  | Reduce demand | Energy Efficiency Excellence |  |  | 2 | £££ | consolidated | Windows | Add heat reflecting film
|  | Address heat loss | Energy Efficiency Excellence |  |  | 3 | £££ | consolidated | Windows | Get windows professionally refurbished
|  | Generate energy | 100% Clean Energy |  |  | 5 | ££££ | consolidated | Generation | Install solar panels in your grounds
|  | Generate energy | 100% Clean Energy |  |  | 5 | ? | consolidated | Generation | Install solar slates
|  | Good governance | Good Governance |  |  | 2 | £ | consolidated | Good management | Keep heating maintenance records
|  | Address heat loss | Energy Efficiency Excellence |  |  | 1 | ££££ | exclude | Heat loss measures | Install air curtains |  | https://www.engineeringtoolbox.com/air-curtains-d_129.html
|  | Address heat loss | Energy Efficiency Excellence |  |  | ? | £££ | exclude | Heat loss measures | Install destratification fans
|  | Reduce demand | Energy Efficiency Excellence |  |  | 1 | ££ | exclude | Electricity | Switch to more efficient appliances
|  | Reduce demand | Energy Efficiency Excellence |  |  | 2 | £ | remove | Small heating changes | Reduce the available heat output
| Let your radiators breathe | Reduce demand | Good Governance | move under maintain rads | If air can’t move through the radiator or convector, they can’t heat the space. If your users pile things around the radiators, hang a sign with a photo of where they should really go. If you have joinery blocking the airflow, remove it. If the joinery was for safety because the radiator is too hot to touch, you can replace it with a metal grille or you may be able to get low surface temperature covers that fit. If you have lots of old, fat pipes, you might need good airflow around the pipes, too. | "A place for everything and everything in its place." ― proverb | 1 | £ |  | Behaviour changes | Unblock your radiators
| Use or stop solar gain | Reduce demand | Energy Efficiency Excellence |  | Sometimes it is possible to modify existing buildings to make better use of the sun. That might mean an added south-facing glass structure to trap heat that will then warm the building and be useful in its own right. For modern buildings with lots of glass that overheat through solar gain, blinds used at the right times or heat-reflecting film on the windows might help. You may also be able to add an overhang at the right angle or place deciduous trees that will let in the sun in the winter but not in the summer. | “Without leaps of imagination or dreaming, we lose the excitement of possibilities. Dreaming, after all is a form of planning.” – Gloria Steinem | ? | £££££ |  | Generation | Handle solar gain with a building feature
space | Switch to a biomass boiler | Decarbonise |  | 100% Clean Energy | T2.5 |  | Biomass boilers are considered to be carbon neutral but polluting and wasteful if the feed stock is grown just to burn. If you are rural, have an oil-fired boiler that will need replaced soon, and there’s some reason why you can’t switch to electric heating now, this may be your best interim option. Double-check that you shouldn’t be switching to localised heating before you resort to this. The UK aspires eventually to phase biomass out for buildings and just use it in power stations where they can scrub polluting emissions and use carbon capture and storage. | “The shift to a cleaner energy economy won’t happen overnight, and it will require tough choices along the way.” ― Barack Obama | 1 | £££££ |  | Big heating changes | Switch to a biomass boiler
5 | 5 | Change to heat the people approach | Energy Efficiency Improvements | Get your plan right | Basic Actions | localisedheating | <p>It’s expensive and difficult to heat air and keep it in an old leaky building. Even if your building is so well used you can afford heat loss measures, your building could be difficult to treat. Refer to the radiant heating and heated seating cards plus approaches that reduce the impact of really cold surfaces, like carpets, curtains and wall hangings. Although these do heat the air a little, they mostly just make people comfortable and without creating draughts or having to worry so much about heat loss. You can also consider portable heating solutions. </p> | The future belongs to those who give the next generation reason for hope. | Teilhard de Chardin |  |  |  | 1 | “When you come to a fork in the road, take it.” — Yogi Berra

## correspondence-to-RWs-names
sheet | RW's name | new name | and also | Conventions:
petals | petal_title | title
petals | petal_tagline | tagline
steps | petal _name | part_of_petal_with_title |  | essential properties like title, tagline, icon_shortcode, nav_order, colour, text_colour - doesn't need the name of the type of thing before it as you can get that from the sheetname.
steps | tagline | step_tagline |  | items have titles, not names.
tasks | task_number | number |  | Everything has an explicit nav_order.
tasks | task_title | title |  | Membership in a superset is indicated part_of_X_with_title (e.g. part_of_petal_with_title - the value is the title to match on).
tasks | description | tagline |  | Taglines are short, descriptions are long.
tasks | petal_number | part_of_petal_with_title
tasks | step_number | part_of_step_with_title | ALSO changed values to be bare title. | To resolve:
cards | card_number | number |  | Should all icons have alt-texts (explicitly blank where decorative) or handle in CSS?
cards | card_title | title
cards | associated_petal | part_of_petal_with_title
cards | associated_task_number | part_of_task_with_title | ALSO changed values to be bare title.
cards | associated_step_number | part_of_step_with_title | ALSO changed values to be bare title.
Removed card 500, duplicate of 53
Removed heat_people, heat_air
Removed other petal and other (any order) step - there are better ways of handling the wildcard, plus there was no other task.

## Feedback tracking
Feedback (initial dumping area) for future iterations
Is there a way of linking the steps and the tasks more intuitively? At the moment I can’t quite see which step each of the tasks relates to. Perhaps numbering the tasks with the step number too e.g. If the first task relates to the first step, could it be 1.1 and if the 6th task relates to the second step it could be numbers 2.6 ??